## Sheet1
OTES Observation Timeline
Epoch | YR | DOY | UTC Date and Time (approx.) | # ifgms | Description
Launch + 14 day Checkout | 2016 | 264 | 2016-09-20 21:42:00 | 1440 | Instrument functional and radiometric tests at op and non-op set-points
Launch + 6 mo. Checkout and Jitter Test | 2017 | 76 | 2017-03-17 19:46:00 | 1880 | Instrument functional and radiometric tests at op and non-op set-points; assess impact of s/c noise sources on OTES data at different servo velocities
Launch + 10 mo. Checkout | 2017 | 214 | 2017-08-02 18:24:00 | 1440 | Instrument functional and radiometric tests at op and non-op set-points
Earth Gravity Assist + 1 day Observations | 2017 | 265 | 2017-09-22 22:44:00 | 1840 | Earth observations, calibration using deep space and internal cal target
Earth Gravity Assist + 3 day Observations - Moon | 2017 | 268 | 2017-09-25 00:00:00 | 1119 | Moon observations, calibration using deep space and internal cal target
Earth Gravity Assist + 3 day Observations - Earth | 2017 | 268 | 2017-09-25 04:21:00 | 873 | Earth observations, calibration using deep space and internal cal target
Earth Gravity Assist + 6 day Observations | 2017 | 271 | 2017-09-28 00:03:00 | 1173 | Earth observations, calibration using deep space and internal cal target
Earth Gravity Assist + 10 day Observations | 2017 | 275 | 2017-10-02 00:00:00 | 3939 | Earth observations, calibration using deep space and internal cal target
Launch + 18 mo. Checkout | 2018 | 71 | 2018-03-12 04:02:00 | 1440 | Instrument functional and radiometric tests at op and non-op set-points
Launch + 22 mo. Checkout | 2018 | 197 | 2018-07-16 09:03:00 | 720 | Instrument functional and radiometric tests at op and non-op set-points
Approach | 2018 | 306 | 2018-11-02 04:00:00 | 8396 | Whole-disk observations, OVIRS-optimized
Approach | 2018 | 307 | 2018-11-03 04:00:00 | 8451 | Whole-disk observations, OVIRS-optimized
Approach | 2018 | 309 | 2018-11-05 04:00:00 | 8675 | Whole-disk observations, OTES-optimized
Approach | 2018 | 312 | 2018-11-08 04:01:00 | 8675 | Whole-disk observations, OTES-optimized
Approach | 2018 | 313 | 2018-11-09 04:01:00 | 8675 | Whole-disk observations, OTES-optimized
Approach | 2018 | 336 | 2018-12-02 04:35:00 | 8240 | Spatially resolved equatorial observations (OTES ride-along)
Preliminary Survey | 2018 | 338 | 2018-12-04 04:21:00 | 8616 | Spatially resolved N. polar observations (OTES ride-along)
Preliminary Survey | 2018 | 338 | 2018-12-04 17:54:00 | 17680 | Spatially resolved N. polar observations (OTES ride-along)
Preliminary Survey | 2018 | 342 | 2018-12-08 02:24:00 | 8561 | Spatially resolved N. polar observations (OTES ride-along)
Preliminary Survey | 2018 | 342 | 2018-12-08 17:55:00 | 8526 | Spatially resolved N. polar observations (OTES ride-along)
Preliminary Survey | 2018 | 343 | 2018-12-09 02:26:00 | 8520 | Spatially resolved N. polar observations (OTES ride-along)
Preliminary Survey | 2018 | 346 | 2018-12-12 04:15:00 | 8376 | Spatially resolved equatorial observations (OTES ride-along)
Preliminary Survey | 2018 | 347 | 2018-12-13 00:14:00 | 8796 | Spatially resolved equatorial observations (OTES ride-along)
Preliminary Survey | 2018 | 350 | 2018-12-16 02:20:00 | 8476 | Spatially resolved S. polar observations (OTES ride-along)
Preliminary Survey | 2018 | 350 | 2018-12-16 17:55:00 | 8496 | Spatially resolved S. polar observations (OTES ride-along)
Preliminary Survey | 2018 | 351 | 2018-12-17 02:30:00 | 8390 | Spatially resolved S. polar observations (OTES ride-along)
Detailed Survey | 2019 | 53 | 2019-02-22 19:19:00 | 31669 | Orbital imaging (OTES ride-along)
Detailed Survey | 2019 | 54 | 2019-02-23 19:19:00 | 31669 | Orbital imaging (OTES ride-along)
Detailed Survey | 2019 | 55 | 2019-02-24 19:19:00 | 31669 | Orbital imaging (OTES ride-along)
Detailed Survey | 2019 | 56 | 2019-02-25 19:19:00 | 31669 | Orbital imaging (OTES ride-along)
Detailed Survey | 2019 | 57 | 2019-02-26 19:19:00 | 31669 | Orbital imaging (OTES ride-along)
Detailed Survey | 2019 | 58 | 2019-02-27 19:19:00 | 31669 | Orbital imaging (OTES ride-along)
Detailed Survey - Baseball Diamond #1 | 2019 | 66 | 2019-03-07 16:59:00 | 8469 | 12:30 pm rectangular raster scan (equatorial) (OTES ride-along)
Detailed Survey - Baseball Diamond #2 | 2019 | 73 | 2019-03-14 17:23:00 | 8723 | 12:30 pm point and stare (equatorial) (OTES ride-along)
Detailed Survey - Baseball Diamond #3 | 2019 | 80 | 2019-03-21 17:23:00 | 8363 | 10:00 am linear scan (OTES ride-along)
Detailed Survey - Baseball Diamond #4a | 2019 | 87 | 2019-03-28 17:09:00 | 8355 | 10:00 am linear scan (S. hemisphere) (OTES ride-along)
Detailed Survey - Baseball Diamond #4b | 2019 | 88 | 2019-03-29 17:19:00 | 8356 | 10:00 am linear scan (N. hemisphere) (OTES ride-along)
Launch +30 mo. Checkout | 2019 | 91 | 2019-04-01 14:35:00 | 1581 | Instrument functional and radiometric tests at op and non-op set-points
Launch +30 mo. Checkout | 2019 | 93 | 2019-04-03 14:00:00 | 1710 | Instrument functional and radiometric tests at op and non-op set-points
Detailed Survey - Baseball Diamond #5a | 2019 | 94 | 2019-04-04 17:36:00 | 8491 | 12:30 pm rectangular raster scan (N. hemisphere) (OTES ride-along)
Detailed Survey - Baseball Diamond #5b | 2019 | 95 | 2019-04-05 17:14:00 | 8364 | 12:30 pm pointing to 10:30 am sun line scan (S. hemisphere) (OTES ride-along)
Launch +30 mo. Checkout | 2019 | 97 | 2019-04-07 14:00:00 | 3499 | Instrument functional and radiometric tests at op and non-op set-points
Detailed Survey - Baseball Diamond #6a | 2019 | 101 | 2019-04-11 17:34:00 | 8493 | 12:30 pm rectangular raster scan (S. hemisphere) (OTES ride-along)
Detailed Survey - Baseball Diamond #6b | 2019 | 102 | 2019-04-12 17:07:00 | 8369 | 12:30 pm pointing to 10:30 am sun line scan (N. hemisphere) (OTES ride-along)
Detailed Survey - Baseball Diamond #7a | 2019 | 108 | 2019-04-18 16:38:00 | 8663 | 12:30 pm point and stare (N. hemisphere) (OTES ride-along)
Detailed Survey - Baseball Diamond #7b | 2019 | 109 | 2019-04-19 16:53:00 | 8663 | 12:30 pm point and stare (S. hemisphere) (OTES ride-along)
Detailed Survey - Equatorial Station #1 | 2019 | 115 | 2019-04-25 17:19:00 | 10493 | 3:00 pm linear and zig-zag scans
Detailed Survey - Equatorial Station #2 | 2019 | 122 | 2019-05-02 17:41:00 | 10660 | 3:20 am nadir and off-nadir linear scans
Detailed Survey - Equatorial Station #2 | 2019 | 123 | 2019-05-03 05:00:00 | 5600 | 3:20 am annulus/point and stare hybrid
Detailed Survey - Equatorial Station #3 | 2019 | 129 | 2019-05-09 15:45:00 | 9315 | 12:30 pm linear scans
Detailed Survey - Equatorial Station #3 | 2019 | 131 | 2019-05-11 02:01:00 | 8834 | 12:30 pm zig-zag scans
Detailed Survey - Equatorial Station #4 | 2019 | 136 | 2019-05-16 17:22:00 | 10556 | 10:00 am linear and zig-zag scans
Detailed Survey - Equatorial Station #5 | 2019 | 143 | 2019-05-23 15:45:00 | 11439 | 6:00 am linear scans
Detailed Survey - Equatorial Station #5 | 2019 | 146 | 2019-05-26 02:00:00 | 8631 | 6:00 am zig-zag scans
Detailed Survey - Equatorial Station #6 | 2019 | 150 | 2019-05-30 17:20:00 | 10426 | 8:40 pm linear and zig-zag scans
Detailed Survey - Equatorial Station #6 | 2019 | 151 | 2019-05-31 05:00:00 | 5900 | 8:40 pm point and stare hybrid
Detailed Survey - Equatorial Station #7 | 2019 | 157 | 2019-06-06 17:50:00 | 10816 | 6:00 pm linear and zig-zag scans
Orbital B | 2019 | 182 | 2019-07-01 21:01:00 | 29061 | terminator orbit
Orbital B | 2019 | 184 | 2019-07-03 02:10:00 | 19806 | terminator orbit sequence 1
Orbital B | 2019 | 184 | 2019-07-03 21:01:00 | 29061 | terminator orbit sequence 2
Orbital B | 2019 | 186 | 2019-07-05 07:53:00 | 9687 | terminator orbit sequence 1
Orbital B | 2019 | 186 | 2019-07-05 21:01:00 | 29061 | terminator orbit sequence 2
Orbital B | 2019 | 188 | 2019-07-07 21:01:00 | 29061 | terminator orbit
Orbital B | 2019 | 189 | 2019-07-08 21:01:00 | 29061 | terminator orbit
Orbital B | 2019 | 190 | 2019-07-09 21:01:00 | 29061 | terminator orbit
Orbital B | 2019 | 191 | 2019-07-10 21:01:00 | 29061 | terminator orbit
Orbital B | 2019 | 192 | 2019-07-11 21:01:00 | 29061 | terminator orbit
Orbital B | 2019 | 193 | 2019-07-12 21:01:00 | 29061 | terminator orbit
Orbital B | 2019 | 195 | 2019-07-14 21:01:00 | 29061 | terminator orbit
Orbital B | 2019 | 196 | 2019-07-15 21:01:00 | 29061 | terminator orbit
Orbital B | 2019 | 197 | 2019-07-16 21:01:00 | 29061 | terminator orbit
Orbital B | 2019 | 198 | 2019-07-17 21:01:00 | 29061 | terminator orbit
Orbital B | 2019 | 200 | 2019-07-19 07:53:00 | 9687 | terminator orbit sequence 1
Orbital B | 2019 | 200 | 2019-07-19 21:01:00 | 29061 | terminator orbit sequence 2
Orbital B | 2019 | 202 | 2019-07-21 21:01:00 | 29060 | terminator orbit
Orbital B | 2019 | 203 | 2019-07-22 21:01:00 | 29061 | terminator orbit
Orbital B | 2019 | 204 | 2019-07-23 21:01:00 | 29061 | terminator orbit
Orbital B | 2019 | 205 | 2019-07-24 21:01:00 | 29061 | terminator orbit
Orbital B | 2019 | 206 | 2019-07-25 21:01:00 | 5580 | terminator orbit
Orbital B | 2019 | 207 | 2019-07-26 00:07:00 | 23481 | terminator orbit sequence 1
Orbital B | 2019 | 207 | 2019-07-26 21:01:00 | 29061 | terminator orbit sequence 2
Orbital B | 2019 | 209 | 2019-07-28 21:01:00 | 29061 | terminator orbit
Orbital B | 2019 | 210 | 2019-07-29 21:01:00 | 29061 | terminator orbit
Orbital B | 2019 | 211 | 2019-07-30 21:01:00 | 29061 | terminator orbit
Orbital B | 2019 | 212 | 2019-07-31 21:01:00 | 29061 | terminator orbit
Orbital B | 2019 | 214 | 2019-08-02 07:53:00 | 9687 | terminator orbit
Orbital B | 2019 | 216 | 2019-08-04 21:01:00 | 25884 | terminator orbit
Orbital B | 2019 | 217 | 2019-08-05 04:36:00 | 3177 | terminator orbit
Re-fly Detailed Survey BBD Flyby 2 | 2019 | 269 | 2019-09-26 17:17:00 | 8103 | point and stare
Recon A High Pass Flyby 1 EX07 Sandpiper | 2019 | 278 | 2019-10-05 18:18:00 | 3633 | elliptical raster scans and point and stare (ride-along)
Recon A High Pass Flyby 2 DL06 Osprey | 2019 | 285 | 2019-10-12 20:57:00 | 3880 | elliptical raster scans and point and stare (ride-along)
Recon A High Pass Flyby 3 CQ13 Kingfisher | 2019 | 292 | 2019-10-19 20:40:00 | 3805 | elliptical raster scans and point and stare (ride-along)
Recon A High Pass Flyby 4 DL15 Nightingale | 2019 | 299 | 2019-10-26 20:00:00 | 3758 | elliptical raster scans and point and stare (ride-along)
Orbital R | 2019 | 315 | 2019-11-11 19:01:00 | 32181 | terminator orbit
Orbital R | 2019 | 316 | 2019-11-12 19:01:00 | 32181 | terminator orbit
Orbital R | 2019 | 317 | 2019-11-13 19:01:00 | 32181 | terminator orbit
Orbital R | 2019 | 318 | 2019-11-14 19:01:00 | 32181 | terminator orbit
Orbital R | 2019 | 319 | 2019-11-15 19:01:00 | 32181 | terminator orbit
Orbital R | 2019 | 320 | 2019-11-16 19:01:00 | 32181 | terminator orbit
Orbital R | 2019 | 321 | 2019-11-17 19:01:00 | 32181 | terminator orbit
Orbital R | 2019 | 322 | 2019-11-18 19:01:00 | 32181 | terminator orbit
Orbital R | 2019 | 323 | 2019-11-19 19:01:00 | 32181 | terminator orbit
Orbital R | 2019 | 324 | 2019-11-20 19:01:00 | 32181 | terminator orbit
Orbital R | 2019 | 326 | 2019-11-22 07:18:00 | 10727 | terminator orbit
Orbital R | 2019 | 326 | 2019-11-22 19:01:00 | 32181 | terminator orbit
Orbital R | 2019 | 327 | 2019-11-23 19:01:00 | 32181 | terminator orbit
Orbital R | 2019 | 328 | 2019-11-24 19:01:00 | 32181 | terminator orbit
Recon B Medium Pass Flyby 1 Nightingale | 2020 | 21 | 2020-01-21 22:15:00 | 5264 | elliptical raster scans and point and stare (ride-along)
Recon B Medium Pass Flyby 1 Osprey | 2020 | 42 | 2020-02-11 19:55:28 | 5770 | elliptical raster scans and point and stare (ride-along)
Recon C Nightingale Low Sortie | 2020 | 63 | 2020-03-03T20:21:00 | 2710 | elliptical raster scan and point and stare (ride-along)
Checkpoint Rehearsal | 2020 | 105 | 2020-04-14T18:52:00 | 4165 | nadir point (ride-along)
Recon C Osprey Low Sortie | 2020 | 147 | 2020-05-26T21:46:00 | 3465 | nadir point (ride-along)
Matchpoint Rehearsal | 2020 | 224 | 2020-08-11T18:28:00 | 4326 | nadir point (ride-along)
5

## Next up...
Launch + 30 mo. Checkout, Part 1 | 2019 | 93 | 2019-04-03 14:00:00 | Instrument functional and radiometric tests at op and non-op set-points
Launch + 30 mo. Checkout, Part 2 | 2019 | 97 | 2019-04-07 14:00:00 | Instrument functional and radiometric tests at op and non-op set-points